## Sheet1
Code | Project Name | Maturity Status | Project Description | Length (km) | Diameter (mm) | Capacities | PCI 5th List | Project Commissioning Year Last | Start | End | Reference
TRA-N-7 | Development for new import from the South (Adriatica Line) | Advanced | The project consists in new on-shore pipeline and compressor station along the center-south of Italy that will allow the increase of transport capacity at new or existing Entry Points in south Italy. | 425 | 1200 | 264000 | Yes | 2028 | 42°2′N, 13°56′E | 44°46′N, 11°30′E | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-A-10 | Poseidon Pipeline (Phase 1) | Advanced | The configuration of the project includes a 210 km of offshore from Greece (Florovouni) crossing the Ionian Sea up to the Italian landfall in Otranto. In its first phase, Poseidon pipeline would transport an initial capacity of 12 Bcm/y allowing the flow of gas coming from Eastern Mediterranean region through EastMed pipeline, to which Poseidon pipeline will be connected in Thesprotia. The project will be able to transport up to 20 Bcm/y in a second phase. | 210 | 813 | 380000 | Yes | 2025 | GR | 40°9′N, 18°29′E | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-A-10 | Poseidon Pipeline (Phase 2) | Advanced | The configuration of the project includes a 210 km of offshore from Greece (Florovouni) crossing the Ionian Sea up to the Italian landfall in Otranto. In its first phase, Poseidon pipeline would transport an initial capacity of 12 Bcm/y allowing the flow of gas coming from Eastern Mediterranean region through EastMed pipeline, to which Poseidon pipeline will be connected in Thesprotia. The project will be able to transport up to 20 Bcm/y in a second phase. | 210 | 813 | 250000 | Yes | 2028 | GR | 40°9′N, 18°29′E | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-A-66 | Interconnection Croatia -Bosnia and Herzegovina (Slobodnica- Bosanski Brod) | Advanced | The pipeline covers the countries Croatia and Bosnia and Herzegovina and it will be the part of Energy Community Ring. The pipeline goes from Slavonski Brod (Slobodnica) in Croatia, it will cross the Sava river to Bosanski Brod in Bosnia and Herzegovina with furter extension to Zenica. The project will be H2 ready. | 6 | 700 | 162000 | No | 2026 | HR | BA | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-A-68 | Ionian Adriatic Pipeline | Advanced | The pipeline will cross the territory along the Adriatic coast from Fieri in Albania via Montenegro to Split in Croatia and will be linked to the existing Croatian gas transmission system (main direction Bosiljevo – Split). The Ionian-Adriatic Pipeline will have an influence on providing gas network for the entire region. The IAP project is based on the idea of connecting the existing Croatian gas transmission system, via Montenegro and Albania, with the TAP gas pipeline system (Trans Adriatic Pipeline). An exit to Bosnia and Herzegovina is planned. Plinacro is the project promoter for submitting the project to TYNDP on behalf of Plinacro, Montenegro Bonus and Albgaz. The project will be H2 ready. | 110 | 800 | 81000 | No | 2024 | HR | BA | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-A-70 | Interconnection Croatia/Serbia (Slobodnica-Sotin-Bačko Novo Selo) | Advanced | Covering Croatia and Serbia, connecting the Croatian gas transmission system to the Serbian gas transmission system Slobodnica - Sotin (Croatia) - Bačko Novo Selo (Serbia). First phase would be Negoslavci-Sotin-Bačko Novo Selo plus the pipeline Osijek-Vukovar. It will be new interconnection, new entry point and transmission route for the needs of Serbia; it will be SoS and diversification of supply route for Serbia. It will enable Serbia access to Croatian UGS, LNG and enable supply of gas from Austria, Slovenia and Italy by the Croatian gas transmission system. Project will be H2 ready. | 10 | 800 | 100000 | No | 2030 | HR | RS | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-A-86 | Interconnection Croatia/Slovenia (Lučko - Zabok - Jezerišće - Sotla) | Advanced | New pipeline which will upgrade the existing interconnection Croatia/Slovenia. Along with the existing interconnection Karlovac-Lučko-Zabok-Rogatec, a new gas pipeline system has been planned which would significantly increase the capacity of the interconnection of the Croatian and the Slovenian gas transmission systems in this direction. Considering almost all existing and new supply directions in the surrounding region and the Croatian storage potentials this opens significant transit potentials in both directions. Along this transit route, it is planned to upgrade the capacity to 5 bcm/y. The project will be hydrogen ready. | 10 | 700 | 90000 | Yes | 2025 | SI | HR | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-A-302 | Interconnection Croatia-Bosnia and Herzegovina (South) | Advanced | South Interconnection of Croatia and B&H - the pipeline is a new supply route for Bosnia and Herzegovina that will enable the reliable and diversifed natural gas supply. The pipeline will enable the flow of IAPand Krk LNG to Bosnia and Herzegovina. The project will be H2 ready. For the implementatiion of the project, the first phase of the IAP project (Dugopolje -Zagvozd pipeline) has to be constructed. | 22 | 500 | 81000 | No | 2024 | HR | BA | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-A-496 | Increase of Gas Transport to the Netherlands (Phase 1) | Advanced | For security of supply reasons additional Gas volumes and capacities at the Dutch - German border are needed. Further earthquakes in the Netherlands force a reduction of the dutch L-Gas production. This could decrease the security of the german L-Gas supply. Additional H-gas volumes could be blended in the Netherlands and provided as L-gas to Germany. The closure of an H-Gas undergrund storage in the Netherlands reduces the dutch H-Gas capacity. | NA | NA | 50400 | No | 2023 | 53°14'N, 7°13'E | 53°13'N, 7°12'E | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-A-496 | Increase of Gas Transport to the Netherlands (Phase 2) | Advanced | For security of supply reasons additional Gas volumes and capacities at the Dutch - German border are needed. Further earthquakes in the Netherlands force a reduction of the dutch L-Gas production. This could decrease the security of the german L-Gas supply. Additional H-gas volumes could be blended in the Netherlands and provided as L-gas to Germany. The closure of an H-Gas undergrund storage in the Netherlands reduces the dutch H-Gas capacity. | NA | NA | 288000 | No | 2026 | 53°14'N, 7°13'E | 53°13'N, 7°12'E | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-A-628 | Eastring - Slovakia (Phase 1) | Advanced | Eastring-SK is the subproject located in Slovakia and is an essential part of the Eastring project - a brand new pipeline project, which connects the Compressor station at Veľké Zlievce in the territory of Slovakia with a new IP at an external border of the EU in the territory of Bulgaria. The project would (i) secure supplies in case of RU disruption and therefore it will increase gas SoS in the broader Central-South-East EU region, (ii) allow access to alternative gas sources for Central, Western & Southern Europe and (iii) mean step towards EU single gas market. | 17 | 1400 | 617000 | No | 2025 | SK | HU | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-A-628 | Eastring - Slovakia (Phase 2) | Advanced | Eastring-SK is the subproject located in Slovakia and is an essential part of the Eastring project - a brand new pipeline project, which connects the Compressor station at Veľké Zlievce in the territory of Slovakia with a new IP at an external border of the EU in the territory of Bulgaria. The project would (i) secure supplies in case of RU disruption and therefore it will increase gas SoS in the broader Central-South-East EU region, (ii) allow access to alternative gas sources for Central, Western & Southern Europe and (iii) mean step towards EU single gas market. | 17 | 1400 | 617000 | No | 2030 | HU | SK | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-A-655 | Eastring - Romania (Phase 1) | Advanced | Eastring-RO is the subproject located in Romania and is an essential part of the Eastring project - a brand new pipeline project, which connects the Compressor station at Veľké Zlievce in the territory of Slovakia with a new IP at an external border of the EU in the territory of Bulgaria. The project would (i) secure supplies in case of RU disruption and therefore it will increase gas SoS in the broader Central-South-East EU region, (ii) allow access to alternative gas sources for Central, Western Southern Europe and (iii) mean step towards EU single gas market. | 646 | 1400 | 617000 | No | 2025 | HU | RO | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-A-655 | Eastring - Romania (Phase 2) | Advanced | Eastring-RO is the subproject located in Romania and is an essential part of the Eastring project - a brand new pipeline project, which connects the Compressor station at Veľké Zlievce in the territory of Slovakia with a new IP at an external border of the EU in the territory of Bulgaria. The project would (i) secure supplies in case of RU disruption and therefore it will increase gas SoS in the broader Central-South-East EU region, (ii) allow access to alternative gas sources for Central, Western Southern Europe and (iii) mean step towards EU single gas market. | 646 | 1400 | 617000 | No | 2026 | BG | RO | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-A-655 | Eastring - Romania (Phase 3) | Advanced | Eastring-RO is the subproject located in Romania and is an essential part of the Eastring project - a brand new pipeline project, which connects the Compressor station at Veľké Zlievce in the territory of Slovakia with a new IP at an external border of the EU in the territory of Bulgaria. The project would (i) secure supplies in case of RU disruption and therefore it will increase gas SoS in the broader Central-South-East EU region, (ii) allow access to alternative gas sources for Central, Western Southern Europe and (iii) mean step towards EU single gas market. | 646 | 1400 | 617000 | No | 2029 | RO | BG | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-A-655 | Eastring - Romania (Phase 4) | Advanced | Eastring-RO is the subproject located in Romania and is an essential part of the Eastring project - a brand new pipeline project, which connects the Compressor station at Veľké Zlievce in the territory of Slovakia with a new IP at an external border of the EU in the territory of Bulgaria. The project would (i) secure supplies in case of RU disruption and therefore it will increase gas SoS in the broader Central-South-East EU region, (ii) allow access to alternative gas sources for Central, Western Southern Europe and (iii) mean step towards EU single gas market. | 646 | 1400 | 617000 | No | 2030 | HU | RO | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-A-851 | Southern Interconnection pipeline BiH/CRO | Advanced | Southern Interconnection pipeline BIH/CRO (Posusje-N.Travnik with main branch to Mostar) will enable a new supply route for BiH providing a diversified and reliable natural gas supply such as LNG, Caspian, Middle East and other sources. Project will be bi-directional and together with planned gas pipeline Brod-Zenica (TRA-N-224) will create a part of EnC Gas Ring. The main purpose of Project is to establish a new, alternative supply route for existing and new consumers in BiH providing reliable and diversified natural gas supply increasing SoS for BiH (currently N-1=0). The importance of supply routes diversification is particularly reflected in the case of a possible interruption of gas supply and fulfilment of SoS standard. Project will contribute to diversification of entry/exit points and usability of Croatian gas transmission system. Project will enable meeting the set goals of decarbonization by gradualy replacing of coal with natural gas as a transition energy source. | 168 | 500 | 73000 | No | 2024 | HR | BA | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-A-967 | Nea-Messimvria to Evzoni/Gevgelija pipeline (IGNM) and BMS | Advanced | The project consists of a pipeline and a relavant border metering station (BMS) from Nea-Messimvria to the Greek /North Macedonian border allowing the supply of North Macedonia by the Greek Gas Transmission System. | 55 | 762 | 34000 | No | 2024 | GR | MK | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-N-1009 | Czech-Polish Bidirectional Interconnection | Advanced | The subject of the project's Czech part is a construction of the DN 1000 pipeline Hať (CZ/PL border) - Bezměrov, which will connect the existing Czech and Polish transmission systems. The realisation of the project will create a bidirectional transmission capacity for safe and reliable gas transmission between Poland and the Czech Republic. From a technical point of view, the project is coordinated by transmission system operators in the Czech Republic (NET4GAS, s.r.o.) and in Poland (GAZ-SYSTEM S.A.). The project is being prepared including possible future transport of hydrogen (blending or 100 %) in the newly built infrastructure in accordance with market requirements or ensuring security (diversification) of gas supplies and achieving long-term efficiency of investments in meeting the CZ/EU climate and energy goals. | 123 | 1000 | 208000 | No | 2026 | 49°58'N, 18°16'E | CZ | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-N-1114 | Grid extension for LNG Wilhelmshaven (Wardenburg-Drohne) | Advanced | This project consists of several newly built pipeline projects (including all necessary technical facilities) and the extension of two compressor stations. The new pipelines are geographically planned to be between Friedeburg-Etzel via Wardenburg and Drohne till Legden. The compressor stations Wardenburg and Krummhoern might be extended by one machine unit each. | 88 | 1000 | NA | No | 2026 | 53°4′N, 8°12′E | 52°26′N, 8°20′E | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-N-1114 | Grid extension for LNG Wilhelmshaven (Drohne-Legden) | Advanced | This project consists of several newly built pipeline projects (including all necessary technical facilities) and the extension of two compressor stations. The new pipelines are geographically planned to be between Friedeburg-Etzel via Wardenburg and Drohne till Legden. The compressor stations Wardenburg and Krummhoern might be extended by one machine unit each. | 120 | 1000 | NA | No | 2026 | 52°26′N, 8°20′E | 52°2′N, 7°6′E | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-N-1114 | Grid extension for LNG Wilhelmshaven (Etzel-Wardenburg) | Advanced | This project consists of several newly built pipeline projects (including all necessary technical facilities) and the extension of two compressor stations. The new pipelines are geographically planned to be between Friedeburg-Etzel via Wardenburg and Drohne till Legden. The compressor stations Wardenburg and Krummhoern might be extended by one machine unit each. | 66 | 1200 | NA | No | 2026 | 53°28′N, 7°54′E | 53°4′N, 8°12′E | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-N-1141 | Czech-Polish Gas Interconnection - PL section (Poland to Czechia) | Advanced | The project aims to establish a new cross-border interconnection between Poland and the Czech Republic to better integrate the gas infrastructure in both countries and to foster security of supply in the Czech Republic and the CEE region (delivery of gas supplies from FSRU in Gdansk, LNG terminal in Świnoujście or Baltic Pipe). The scope of the project covers a gas pipeline between Racibórz and PL-CZ border as well as a metering station. | 16 | 1000 | 41000 | No | 2026 | 50°6′N, 18°13′E | CZ | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-A-1268 | Romania-Serbia Interconnection | Advanced | The project consists in the following: • Construction of an approximately 97 km long pipeline to interconnect the national gas transmission system in Serbia, in the Recas – Mokrin direction of which about 85 km on the territory of Romania and 12 km on the territory of Serbia with the following characteristics: - Pressure of the BRUA pipeline in the Recaș area: 50 – 54 bar (PN BRUA – 63 bar); - Diameter of the interconnection pipeline: Dn 600; - Transmission capacity: max. 1.6 bScm/a (183,000 Scm/h), both in the Romania - Serbia direction and in the Serbia - Romania direction. • Construction of a gas metering station (located on the Romanian territory). | 85 | 600 | 46270 | No | 2023 | RS | RO | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-A-47 | Capacity from France to Germany at Obergailbach | Advanced | This project aims to create a reverse flow between France and Germany at the Obergailbach/Medelsheim IP in order to mitigate Russian gas dependence for Germany. Depending on the confirmation of needs and new gas imports to France, it would consist in enabling a physical reverse flow from France to Germany. A de-odorization plant at Medelsheim should be built in order to meet German's requirements related to odorant level (TRA-A-457). This project has been identified in the Repower EU action plan published in May 2022 | 80 | 900 | 220000 | No | 2027 | 49°7′N, 7°13′E | 49°9′N, 7°13′E | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-A-258 | Developments for Montoir LNG terminal 2.5 bcm expansion | Advanced | This entry capacity increase at Montoir needs specific developments and core system developments (Looping of Artère du Perche). | 200 | 1050 | NA | No | 2027 | 47°37'N 1°, 34'W | 48°30′N, 1°16′E | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-A-810 | TAP Expansion | Advanced | TAP's initial capacity is 10 bcm/a and it can expand up to 20 bcm/a with marginal investment, based on binding market demand expressed during market tests. TAP launched the non-binding phase of a Market Test in July 2021 and intends to launch its binding bidding phase in November 2022. TAP can expand in stages and intends to offer four levels of expansion: Level 1 - TAP minimum expansion – to an actually built total capacity entry Kipoi of 39.8 MSm3 per day; Level 2: TAP limited expansion – to an actually built total capacity entry Kipoi of 41.7 MSm3 per day; Level 3: TAP partial expansion – to an actually built total capacity entry Kipoi of 48.8 MSm3 per day; Level 4: TAP full expansion – to an actually built total capacity entry Kipoi of 58.8 MSm3 per day. Level 1 can be realised in 36 months from FEED, Level 2 in 48 months and Level 3 and 4 in 52 months. TAP can contribute to the REPowerEU goals by delivering substantial new volumes of gas, biomethane, hydrogen & other RES gases. | NA | NA | 142000 | No | 2022 | GR | BG | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-F-137 | Interconnection Bulgaria - Serbia | FID | Interconnection Bulgaria-Serbia aims to connect the national gas transmission networks of Bulgaria and Serbia. The project envisages the construction of a gas pipeline from Novi Iskar to Kalotina with branch to Slivnitsa and Dragoman on Bulgarian territory and a gas pipeline Nis to Dimitrovgrad on Serbian territory. The project on Bulgarian territory includes the construction of 2 AGRS at Slivnitsa and Dragoman and the construction of GMS Kalotina at a joint site with a reverse pigging station of the gas pipeline. The project is part of the Balkan Gas Hub concept. Along with the projects IGB and IBR, it will provide for market integration, increased security of supply and competition by opening a new bidirecitonal supply route. | 170 | 700 | 58.5 | Yes | 2022 | BG | RS | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-F-190 | Poland - Slovakia interconnection | FID | Construction of a missing interconnection between Slovak and Polish transmission system will contribute to establishing a well-functioning internal gas market via diversification of gas routes and sources. Security of supply will be thus enhanced decreasing producers concentration in the affected region. | 106 | 1000 | NA | No | 2022 | NA | NA | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-F-245 | North - South Gas Corridor in Eastern Poland | FID | The investment tasks within the project constitute essential elements of the planned North-South gas interconnections in Central Eastern and South Eastern Europe. Implementation of the project will allow for distribution of gas delivered by the FSRU Baltic Sea Cost project towards the southern direction (i.e. Ukraine and/or Slovakia). These investments play a key role in the integration with the CEE region along the North-South axis. The project is under implementation in the incremental procedure. | 247 | 1000 | 92800 | No | 2028 | 51°45′N, 16°27′E | 49°36′N, 22°04′E | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-F-298 | Modernization and rehabilitation of the Bulgarian GTS | FID | A multicomponent project which consists of different actions for rehabilitation, modernization and expansion of the existing gas transmission infrastructure in Bulgaria and includes activities on: CSs modernization, inspections, repair and replacement of pipeline sections, expansion of the existing network and implementation of systems for optimization of the management process of the network technical condition. Taking into account the complex nature of the project, a 3 phases implementation is envisaged: Phase 1: Unifies the actions undertaken in the period 2013-2015, finalized in 2018. Phase 2: Includes actions initiated in 2016. They represent logic continuation of the overall realization of the project following the implementation of Phase 1. Phase 3: Infrastructure necessary after taking the FID for stage 2 of the Interconnection Bulgaria – Serbia. The project is part of the concept for the Balkan Gas Hub. | 23 | 700 | 19360 | Yes | 2024 | BG | RS | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-F-329 | ZEELINK | FID | Pipeline and two compressor ​stations project to support the changeover from low-calorific gas to high-calorific gas in Germany | 227 | 1000 | NA | No | 2023 | 52°2′N, 7°6'E | 50°49′N, 6°8′E | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-F-342 | Enhancement of Latvia-Lithuania interconnection (Lithuania's part) | FID | The aim of the Project is to increase the capacity of the gas systems between Latvia and Lithuania, ensure safe and reliable natural gas supply and achieve more effective use of the infrastructure and better integration of the gas markets of the Baltic States, Finland and overall BEMIP region. In addition, better conditions will be provided for the region of the use of Latvia’s Inčukalns underground gas storage facility. After the implementation of the project, the capacity to Latvia will be increased up to 130.47 GWh/ day and to Lithuania up to 119.53 GWh/ day. | NA | NA | 62870 | Yes | 2023 | LT | LV | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-F-378 | Interconnector Greece-Bulgaria (IGB Project) | FID | ​Construction of a bi-directional gas interconnector between the high pressure natural gas systems of Greece and Bulgaria with a technical forward capacity of up to 3bcm/y, capable to be increased to up to 5 bcm/y with the installation of a Compressor Station, if additional market interest is demonstrated. | 182 | 813 | 142000 | Yes | 2022 | GR | BG | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-F-382 | Enhancement of Latvia-Lithuania interconnection (Latvian part) | FID | ​The project is aimed at increase of the interconnection capacity between Latvia and Lithuania in order to secure necessary gas flows demanded by the market. On Latvian side it provides for increase of maximal operation pressure in the transmission system to 50 bar. This solution was selected as the most efficient by the feasibility study completed in 2018. On Lithuanian side it is planned to increase the capacity of Kiemenai metering station and adjust piping of Panevežys gas compressor station. After completion of the project the interconnection capacity will reach 130.47 GWh/day from Lithuania to Latvia and 119.53 GWh/d from Latvia to Lithuania. | NA | NA | 54430 | No | 2023 | LV | LT | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-F-394 | Norwegian tie-in to Danish upstream system | FID | A new offshore pipeline between the Norwegian gas system (Europipe II) in the North Sea and the Danish onshore transmission system ensures - in combination with the Baltic Pipe - that Norwegian gas (approx. 10 bcm/year) can be transported directly through Denmark to Sweden, Poland and the wider Central and Eastern European region. This will provide a number of countries with improved access to additional supply sources. The gas could also flow through the Danish German interconnection point Ellund-Egtved to the wider European gas market. The project consists of construction of a new offshore pipeline between the Norwegian gas system in the North Sea (the offshore pipeline landfall on the west coast of Denmark is planned on the beach near Blåbjerg), construction of a new pipeline from the beach near Blaabjerg to Nybro and construction of a receiving plant at Nybro. - Former project name: "Gassled -Norwegian upstream system to Denmark" | 105 | 800 | 306800 | No | 2022 | NO | 56°14'N, 8°52'E | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-F-402 | TENP Security of Supply (Pipeline Mittelbrunn-Schwanheim) | FID | In the German Network Development Plan (NDP 2018) several scenarios have been analyzed to take account of the supply security needs in the German state of Baden-Württemberg and the demand for southbound transports to Switzerland and Italy. Two pipeline sections will be built between Mittelbrunn and Schwanheim (region Rhineland-Palatinate) and between Hügelheim and Tannenkirch (region Baden-Württemberg). It will ensure the security of supply needs for the Region Baden-Württemberg, identified in an additional demand of 5.2 GWh/h. Additionally, these investments will secure a capacity of 13.3 GWh/h at the Cross-Border Exit Point Wallbach towards Switzerland and Italy. | 38 | 1000 | NA | No | 2024 | 49°22′N, 7°33′E | 49°10′N, 7°53′E | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-F-402 | TENP Security of Supply (Pipeline Hügelheim-Tannenkirch) | FID | In the German Network Development Plan (NDP 2018) several scenarios have been analyzed to take account of the supply security needs in the German state of Baden-Württemberg and the demand for southbound transports to Switzerland and Italy. Two pipeline sections will be built between Mittelbrunn and Schwanheim (region Rhineland-Palatinate) and between Hügelheim and Tannenkirch (region Baden-Württemberg). It will ensure the security of supply needs for the Region Baden-Württemberg, identified in an additional demand of 5.2 GWh/h. Additionally, these investments will secure a capacity of 13.3 GWh/h at the Cross-Border Exit Point Wallbach towards Switzerland and Italy. | 16 | 900 | NA | No | 2024 | 47°50′N, 7°37′E | 47°43′N, 7°38′E | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-F-409 | Larino - Chieti | FID | Construction of 113 km 24" LARINO-CHIETI linking the provinces of Campobasso and Chieti, through the industrial areas of San Salvo and Val di Sangro. The proget forsee realisation of a Gas Tranportation system on Adriatic coast that will: - ensure the security of service on the current backbone (which will undergo a progressive reduction in operating pressures due to obsolescence) over the coming decades; - avoid congestion in this section and meet capacity increases in relation to changes in demand | 113 | 600 | 53000 | No | 2022 | 41°48′N, 14°55′E | 42°21′N, 14°10′E | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-F-873 | Additional import at Oude StatenZijl area (First Stage) | FID | This projects enables additional flow at the interconnection point between TTF and Gaspool. Investment measures are foreseen at Emden. | NA | NA | 228000 | No | 2022 | 53°02'N, 7°17'E | 53°02'N, 7°07'E | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-F-873 | Additional import at Oude StatenZijl area (Second Stage) | FID | This projects enables additional flow at the interconnection point between TTF and Gaspool. Investment measures are foreseen at Emden. | NA | NA | 60000 | No | 2025 | 53°02'N, 7°17'E | 53°02'N, 7°07'E | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-F-1095 | TENP Security of Supply plus (Pipeline Tannenkirch-Hüsingen) | FID | In the German Network Development Plan (NDP 2020) several scenarios have been analyzed to take account of the supply security needs in the German state of Baden-Württemberg and the demand for southbound transports to Switzerland and Italy. Three pipeline sections will be built between Schwanheim and Au am Rhein (Region Rhineland-Palatinate), between Schwarzach and Eckartsweier (Region Baden-Württemberg) and between Tannenkirch-Hüsingen (Region Baden-Württemberg). It will ensure the security of supply needs for the Region Baden-Württemberg, identified in an additional demand of 1.2 GWh/h. Additionally, these investments will secure a capacity of 16.2 GWh/h at the Cross-Border Exit Point Wallbach towards Switzerland and Italy. | 16 | 900 | 70000 | No | 2026 | 47°42'N, 7°36'E | 47°37'N, 7°44'E | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-F-1095 | TENP Security of Supply plus (Pipeline Schwanheim-Au am Rhein) | FID | In the German Network Development Plan (NDP 2020) several scenarios have been analyzed to take account of the supply security needs in the German state of Baden-Württemberg and the demand for southbound transports to Switzerland and Italy. Three pipeline sections will be built between Schwanheim and Au am Rhein (Region Rhineland-Palatinate), between Schwarzach and Eckartsweier (Region Baden-Württemberg) and between Tannenkirch-Hüsingen (Region Baden-Württemberg). It will ensure the security of supply needs for the Region Baden-Württemberg, identified in an additional demand of 1.2 GWh/h. Additionally, these investments will secure a capacity of 16.2 GWh/h at the Cross-Border Exit Point Wallbach towards Switzerland and Italy. | 13 | 1000 | 70000 | No | 2026 | 49°10′N, 7°53′E | 48°57′N, 8°14′E | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-F-1095 | TENP Security of Supply plus (Pipeline Schwarzach-Eckartsweier) | FID | In the German Network Development Plan (NDP 2020) several scenarios have been analyzed to take account of the supply security needs in the German state of Baden-Württemberg and the demand for southbound transports to Switzerland and Italy. Three pipeline sections will be built between Schwanheim and Au am Rhein (Region Rhineland-Palatinate), between Schwarzach and Eckartsweier (Region Baden-Württemberg) and between Tannenkirch-Hüsingen (Region Baden-Württemberg). It will ensure the security of supply needs for the Region Baden-Württemberg, identified in an additional demand of 1.2 GWh/h. Additionally, these investments will secure a capacity of 16.2 GWh/h at the Cross-Border Exit Point Wallbach towards Switzerland and Italy. | 29 | 1000 | 70000 | No | 2026 | 49°22′N, 8°59′E | 48°32′N, 7°51′E | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-F-1173 | Poland - Denmark interconnection (Baltic Pipe) - onshore section in Poland | FID | The project aims at connecting the gas transmission systems in Poland and Denmark with a view to transporting Norwegian gas to the countries in the Baltic Sea region and Central-Eastern Europe. The project will also bring the opportunity for the Danish market to diversify its supply potential (deliveries of LNG from the terminal in Świnoujście) in the context of declining production in the Danish part of the North Sea. The project is composed of the following investments that are mutually dependent and hence each necessary for the benefits and realization of the Baltic Pipe project: Goleniów – Lwówek pipeline, CS Gustorzyn, CS Goleniów, CS Odolanów. | 191 | 1000 |  | Yes | 2022 | 53°34′N, 14°50′E | 52°27′N, 16°11′E | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-A-68 | Ionian Adriatic Pipeline | Less-Advanced | The pipeline will cross the territory along the Adriatic coast from Fieri in Albania via Montenegro to Split in Croatia and will be linked to the existing Croatian gas transmission system (main direction Bosiljevo – Split). The Ionian-Adriatic Pipeline will have an influence on providing gas network for the entire region. The IAP project is based on the idea of connecting the existing Croatian gas transmission system, via Montenegro and Albania, with the TAP gas pipeline system (Trans Adriatic Pipeline). An exit to Bosnia and Herzegovina is planned. Plinacro is the project promoter for submitting the project to TYNDP on behalf of Plinacro, Montenegro Bonus and Albgaz. The project will be H2 ready. | 250 | 800 | 33300 | No | 2028 | HR | AL | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-A-68 | Ionian Adriatic Pipeline | Less-Advanced | The pipeline will cross the territory along the Adriatic coast from Fieri in Albania via Montenegro to Split in Croatia and will be linked to the existing Croatian gas transmission system (main direction Bosiljevo – Split). The Ionian-Adriatic Pipeline will have an influence on providing gas network for the entire region. The IAP project is based on the idea of connecting the existing Croatian gas transmission system, via Montenegro and Albania, with the TAP gas pipeline system (Trans Adriatic Pipeline). An exit to Bosnia and Herzegovina is planned. Plinacro is the project promoter for submitting the project to TYNDP on behalf of Plinacro, Montenegro Bonus and Albgaz. The project will be H2 ready. | 180 | 800 | 16600 | No | 2028 | HR | ME | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-N-8 | Import developments from North-East | Less-Advanced | The project consists in new on-shore pipeline and in a new compressor station in the north east of Italy to permit the increase of transport capacity at new or existing Entry Points in that area.​ | 15 | 1050 | 340000 | No | 2034 | 45°41′N, 12°6′E | 45°40′N, 12°15′E | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-N-8 | Import developments from North-East | Less-Advanced | The project consists in new on-shore pipeline and in a new compressor station in the north east of Italy to permit the increase of transport capacity at new or existing Entry Points in that area.​ | 119 | 1400 | 340000 | No | 2034 | 45°40′N, 12°15′E | 46°19′N, 13°6′E | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-N-108 | M3 pipeline reconstruction from CS Ajdovščina to Šempeter/Gorizia | Less-Advanced | Interconnector with the Italian TSO. Adjustment to operating parameters of the transmission system of the Italian TSO.​ Project is a part of PCI 6.23. Hungary – Slovenia interconnection (Nagykanizsa - Tornyiszentmiklós (HU) - Lendava (SI) - Kidričevo)​. | 12 | 500 | 23300 | No | 2024 | SI | 45°56′N, 13°37′E | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-N-112 | R15/1 Pince - Lendava - Kidričevo (Phase 1) | Less-Advanced | Interconnector with the transmission system of the Hungarian TSO. Cross-border transmission, enabling access to underground storages in Hungary for Slovenian gas suppliers, enabling access to LNG terminals in northern Adriatic and other gas sources for Hungarian gas suppliers, connection of Hungarian and Slovenian gas market and improving of N-1 infrastructure standard for SI and HU. Pipeline is intent to become a part of hydrogen backbone establishing hydrogen interconnection with the Hungarian system in next stage from approximately 2035 onwards. Project is a part of PCI 6.23. Hungary – Slovenia interconnection (Nagykanizsa - Tornyiszentmiklós (HU) - Lendava (SI) - Kidričevo)​. | 73 | 500 | 49000 | No | 2025 | HU | SI | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-N-224 | Gaspipeline Brod - Zenica | Less-Advanced | Gaspipeline Brod-Zenica is the project that will enable new supply route for BiH providing diversified and reliable natural gas supply. Currently, BiH has only one entry point and consequently low SoS (N-1=0). Project will enable capacity to Oil Refinery Brod and other industrial and residential consumers along this route, as part of BiH with the highest population density. Gas pipeline route Brod Gas pipeline will be be-directional and together with the Project Southern Interconnection (TRA-A-851) will create a part of EC Gas Ring. Project is in connection with Project Slobodnica-Bosanski Brod (TRA-N-66) located in Croatia. Project will significantly contribute to diversification of entry/exit points of Croatian gas transmission system with neighbouring countries. | 140 | 500 | 42000 | No | 2027 | BA | HR | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-N-303 | Interconnection Croatia-Bosnia and Herzegovina (west) | Less-Advanced | Interconnection Croatia-Bosnia and Herzegovina on route Licka Jesenica-Rakovica in Croatia to border with Bosnia and Herzegovina. Bosnian part is from Trzac to Bosanska Krupa with branches to Bihać and Velika Kladusa.. The project will be H2 ready. | 10 | 500 | 81000 | No | 2027 | BA | HR | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-N-325 | Slovenian-Hungarian interconnector (HU hydrogen corridor III) (Phase 1) | Less-Advanced | The main target is to ensure a new bidirectional transmission route between Italy, Slovenia and Hungary. The project in Hungary consists of a DN600 pipeline between Nagykanizsa and Tornyiszentmiklós (41 km), DN600 pipeline between Nagykanizsa and Kozármisleny (158 km), and one compressor station at Nagykanizsa. In Hungary, FGSZ suggests this project for 100% H2 corridor, but at the beginning in case of market demand, it would be possible to deliver natural gas (NG) or H2+NG blended gas. | NA | NA | 49000 | No | 2025 | HU | SI | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-N-377 | Romanian-Hungarian reverse flow Hungarian section 2nd stage | Less-Advanced | A third compressor unit (4.5 MW) is needed at Csanádpalota to reach the increased 4.4 bcm/a capacity of the corridor at the RO/HU border. A new DN1000 pipeline section is needed between Kiskundorozsma-Városföld. The pipeline could be part of the hydrogen corridor towards Romania and Serbia in a later stage. | 67 | 1000 | 53700 | Yes | 2027 | RO | HU | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-N-389 | Upgrade of Murfeld/Ceršak interconnection (M1/3 Interconnection Ceršak) | Less-Advanced | Adjustment of operating parameters of the Austrian and Slovenian transmission systems, increasing the transmission capacity and enabling bidirectional operation in the frame of the bidirectional gas route Austria - Slovenia - Croatia. Project is a part of the PCI 6.26 Cluster Croatia - Slovenia - Austria at Rogatec. | 0 | 800 | 78500 | No | 2026 | 46°42'N, 15°40'E | SI | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-N-390 | Upgrade of Rogatec interconnection (M1A/1 Interconnection Rogatec) | Less-Advanced | Adjustment of the operating parameters of the transmission system of the Croatian TSO, increasing the transmission capacity and enabling bidirectional operation in the frame of the bidirectional gas route Austria - Slovenia - Croatia. Project is a part of the PCI 6.26 Cluster Croatia - Slovenia - Austria at Rogatec. | 4 | 800 | 390000 | Yes | 2026 | SI | HR | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-N-524 | Enhancement of Transmission Capacity of Slovak-Hungarian interconnector | Less-Advanced | Enhancement of Exit transmission capacity with 102 GWh/day in HU>SK direction and enhancement of Entry transmission capacity with 25 GWh/day in SK>HU direction at Balassagyarmat with new compressors on Szada Compressor station and a new enabler compressor station at Dorog. The available bi-directional transmission capacities will be the same in both directions at the Slovak-Hungarian interconnector. | NA | NA | 25000 | Yes | 2027 | SK | HU | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-N-600 | Czech-Austrian Interconnection (AT) | Less-Advanced | The project reacts on a non-binding capacity demand received by companies NET4GAS and GAS CONNECT AUSTRIA in 2019 during the market demand assessment process for incremental capacity realized based on the Commission Regulation (EU) 2017/459. | 49 | 800 | 201400 | No | 2028 | 48°18′N, 16°52′E | CZ | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-N-612 | ES-IT Offshore-Interconnector_ | Less-Advanced | This questionnaire is a joint submission by SNAM and ENAGAS. It should be understood that the host countries are Spain and Italy and the promoters are SNAM and ENAGAS. The project consists of an offshore gas, hydrogen-ready interconnection between the Spanish and Italian gas systems that will initially allow for supply diversification in Italy, optimising the utilisation of already-existing import capacities in Spain. In the longer term it will be switched to hydrogen. Infrasctructure related data included in this questionnaire refers to the whole project although ownership is shared 50% Snam , 50% Enagas | 800 | 700 | 320000 | No | 2040 | 43°33′N, 10°19′E | 41°24′N, 2°10′E | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-N-766 | Entry Murfeld | Less-Advanced | The realization of Project will make available a physical flow from Slovenia to Austria. It means it create transmission capacity from Slovenia gas networks to Austria gas networks.The project strengthens Security of Supply and contributes to the diversification of supply routes for the Austrian Market Area. Hence, the project contributes to the REPowerEU as well. | 26 | 600 | 166500 | No | 2026 | SI | 46°42'N, 15°40'E | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-A-810 | TAP Expansion | Less-Advanced | TAP's initial capacity is 10 bcm/a and it can expand up to 20 bcm/a with marginal investment, based on binding market demand expressed during market tests. TAP launched the non-binding phase of a Market Test in July 2021 and intends to launch its binding bidding phase in November 2022. TAP can expand in stages and intends to offer four levels of expansion: Level 1 - TAP minimum expansion – to an actually built total capacity entry Kipoi of 39.8 MSm3 per day; Level 2: TAP limited expansion – to an actually built total capacity entry Kipoi of 41.7 MSm3 per day; Level 3: TAP partial expansion – to an actually built total capacity entry Kipoi of 48.8 MSm3 per day; Level 4: TAP full expansion – to an actually built total capacity entry Kipoi of 58.8 MSm3 per day. Level 1 can be realised in 36 months from FEED, Level 2 in 48 months and Level 3 and 4 in 52 months. TAP can contribute to the REPowerEU goals by delivering substantial new volumes of gas, biomethane, hydrogen & other RES gases. | NA | NA | 292000 | No | 2027 | AL | 40°17'N, 18°23'E | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-N-910 | West Interconnection BiH/CRO | Less-Advanced | Western interconnection BiH/CRO (Trzac-Bosanska Krupa with branches to Bihac and Velika Kladusa) is the project that together with the project Licka Jesenica - Rakovica (TRA-N-33) located in Croatia will connect BiH with existing Croatian gas transmission system and enable gasification of Una-Sana Canton in western Bosnia and Herzegovina. Due to the long distance between this part of BiH, i.e. Una-Sana Canton and the existing gas transmission system, it has been determined that gas supply from neighbouring Croatia is a better option. With the implementation of II Phase of Una Sana Canton gasification, by gas pipeline Bosanska Krupa – Sanski Most – Kljuc (medium term) and III Phase of Central Bosnia Canton gasification, by gas pipeline Travnik - Jajce (long term), all necessary preconditions will be created in order to connect the Western gas interconnection to existing gas pipeline system, as well as to introduce the natural gas in non-gasified BiH areas. | 35 | 500 | 73000 | No | 2027 | HR | BA | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-N-954 | TAG Reverse Flow | Less-Advanced | The objective of the planning project TAG Reverse Flow is to create a reverse flow FZK capacity on the TAG GmbH pipeline system, by allowing potential entry FZK capacity at the IP Ceršak/Murfeld from the Slovenian to the Austrian gas transportation system. This project would grant access under all conditions from and between Italian and Slovenian gas system to the Austrian Virtual Trading Point and to improve local security of supply and liquidity through diversification of supply routes and sources of supply. By enabling additional possibilities for physical reverse flow to be offered in the south-north and south-east directions, this project is of strategic interest for the Austrian, Italian and Slovenian market area and the NSI East region. | NA | NA | 166500 | No | 2026 | 46°30′N, 13°35′E | 46°33′N, 13°42′E | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-N-1059 | Czech-Austrian Interconnection (CZ) | Less-Advanced | The project reacts on a non-binding capacity demand received by companies NET4GAS and GAS CONNECT AUSTRIA in 2019 during the market demand assessment process for incremental capacity realized based on the Commission Regulation (EU) 2017/459. The realization of the project will make available a bidirectional transmission capacity between the Czech Republic and Austria, and it would create the first direct connection between the Czech and Austria gas networks. The project’s technical design plan provides for ensuring that the pipeline is ready to transport hydrogen, if should such a need arise. | 12 | 800 | 201400 | No | 2028 | 48°42'N, 16°49'E | CZ | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-N-1124 | Capacity increase from Bulgaria to Romania (Rupcha-Vetrino Looping) | Less-Advanced | Project for the increase of the technical capacity for transmission from Bulgaria to Romania in IP Negru Voda / Kardam. The project includes the construction of 63 km of looping with a diameter of DN1200 (Rupcha - Vetrino), reversal activities of CS Kardam (without the need for new compressors), GMS Kardam. Its implementation will allow overcoming the bottleneck, which limits the capacity to transport gas to Romania, including for Ukraine and Moldova. The project will provide access to additional quantities of LNG and gas from alternative sources in Greece and Turkey. The project will be suited for the transportation of increasing percentages of hydrogen (up to 100%). | 63 | 1200 | 137150 | No | 2024 | BG | RO | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-N-1131 | Reinforcement of NNGTS-South section | Less-Advanced | The project refers to the following upgrade of the Greek NNGTS in order to achieve increased capacity at the IP Kulata/Sidirokastro. It is strongly connected with the project "Technical capacity increase of gas transmission from GR to BG and BG to NM" promoted by Bulgartransgaz. Namely the project includes the duplication of a part of the Greek Network south of Nea Mesimvria, a project of 30 inch and 100km pipeline. | 100 | 762 | 26745 | No | 2027 | GR | BG | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-N-1140 | Technical capacity increase of gas transmission from GR to BG and BG to NM | Less-Advanced | Project for increasing the technical capacity for transmission: - From Greece to Bulgaria in IP Kulata / Sidirokastro; - From Bulgaria to Northern Macedonia in IP Kyustendil / Zhidilovo. The project includes the construction of 47 km of looping DN700 (Kulata - Kresna) and 50 km of new gas pipeline DN500 (Piperevo - Pernik). Its implementation will allow overcoming a future bottleneck, limiting the capacity for gas transmission from Greece (in case of increase on the Greek side of the capacity for transmission to Bulgaria). The project will provide access to additional quantities of LNG and gas from alternative sources in Greece for Bulgaria and all neighboring countries. The project will be suited for the transportation of increasing percentages of hydrogen (up to 100%). This project is related to Project TRA-N-1131 'Reinforcement of NNGTS-South section' promoted by DESFA. | 50 | 500 | 5383 | No | 2024 | BG | MK | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-N-1143 | Capacity intensification of the Poland – Slovak Interconnector | Less-Advanced | Intensification of transmission capacities via adjustmenst of transmission system on Slovak side (installation of new filters, control valves, metering runs) to achieve higher entry capacities up to 10,9 bcm/y and exit capacities up to 12,8 bcm/y in order to increase possible flow from the diversified LNG supply. Implementation of the project will mitigate the dependance on the russian gas supply in the CEE region. | NA | NA | 142000 | No | 2027 | SK | 49°14'N, 22°02'E | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-N-1145 | Export enhancements | Less-Advanced | the project, with the upgrading of a gas pipeline and a compressor station, will enable the export of about 40 MSmc/d from Tarvisio and will increase the export bottleneck to the North Italy from 40 MSmc/d to 60 MSmc/d | 65 | 1200 | 215000 | No | 2028 | 44°46′N, 11°30′O | 45°10'N 11°16'E | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx
TRA-N-1235 | Firm transmission capacity increase at the IP Veľké Zlievce | Less-Advanced | Expansion of the capacity at the SK-HU interconnection point developing the transmission capacity in HU>SK and SK>HU direction from interruptible capacity to non-interruptible (firm) capacity in order to enhance flexibility, interoperability, operational efficiency reducing the flow direction switch operation time, security of gas supplies in the affected countries in the CEE and SEE region. Moreover price convergence is expected as a complementary effect. | NA | NA | 25400 | No | 2025 | SK | HU | https://www.entsog.eu/sites/default/files/2023-09/ENTSOG_TYNDP_2022_Annex_A_Project_Details_230411.xlsx